## Slide 1: Flow Cytometry and Sorting Part 2
Lecture Notes for “Fluorescence Spectroscopy in Biological Research”
Robert F. Murphy, October 1996

## Slide 2: Electronics
Processing of signals from detectors
  Preamplification
    Strengthen signals so that they can travel from remote detectors to central electronics
  Amplification
    Adjust signal intensity
    Linear or Logarithmic

## Slide 3: Comparison of linear and logarithmic amplification
P. N. Dean - MLM Chapt. 22

## Slide 4: Electronics
Processing of signals from detectors
  Generation of Integral or Pulse Width
  Gated Peak-Sense-And-Hold
  Timing Adjustment
    Necessary for multiparameter systems
  Analog-Digital Conversion

## Slide 5: Signal Processing
In multistation flow cytometers each cell passes through each measurement station at different times. The figure shows how the information obtained at each station is “aligned” in time so that it is all recorded at one time for each cell.
R.D. Hiebert & R.G. Sweet - VDLM Chapt. 4

## Slide 6: Data Acquisition
Each measurement from each detector is referred to as a “parameter”
Data are acquired as a “list” of the values for each “parameter” (variable) for each “event” (cell)

## Slide 7: Data Acquisition - Listmode

## Slide 8: Single parameter histograms
P. N. Dean - MLM Chapt. 22

## Slide 9: Correlated Histograms
The figure shows two ways of displaying the correlation between two parameters: a perspective (or projection) plot and a contour map.
P. N. Dean - MLM Chapt. 22

## Slide 10: Gating
P. N. Dean - MLM Chapt. 22