## Slide 1: Flow Cytometry and Sorting Part 3
Lecture Notes for “Fluorescence Spectroscopy in Biological Research”
Robert F. Murphy, October 1996

## Slide 2: Basics of Flow Sorting
Droplet formation
Timing
Coincidence - Purity and Efficiency

## Slide 3
488 nm laser
+
-
Fluorescence Activated
Cell Sorting
Charged Plates
Single cells sorted
into test tubes
FALS Sensor
Fluorescence detector
Purdue University Cytometry Laboratories

## Slide 4: Droplet formation
T. Lindmo, D.C. Peters & R.G Sweet - MLM Chapt. 8
As liquid is ejected into air, it will form droplets. By vibrating the nozzle at a defined frequency, the size of these droplets and the position along the stream where they form can be controlled with great precision.

## Slide 5: Timing
T. Lindmo, D.C. Peters & R.G Sweet - MLM Chapt. 8

## Slide 6: Coincidence - Purity
As droplets form, they can contain wanted cells as well as unwanted cells. If all droplets containing a wanted cell are sorted (regardless of whether they also contain unwanted cells), the purity of the sorted sample will be reduced.

## Slide 7: Coincidence - Purity
The purity can be improved by checking for coincidence events and not sorting any wanted cell that occurs too close to an unwanted cell.
This causes an increase in purity but a reduction in sorting efficiency.

## Slide 8: Coincidence - Efficiency
T. Lindmo, D.C. Peters & R.G Sweet - MLM Chapt. 8
The efficiency of sorting (with coincidence checking) for three-droplet sorting (solid lines) and one-droplet sorting (broken line) is shown as a function of event rate.

## Slide 9: Cell Cycle Analysis
One of the earliest applications of flow cytometry was the analysis of cell cycle position by quantitation of cellular DNA.
Flow cytometry is still the method of choice for fast, accurate determination of cell cycle distributions.

## Slide 10: Univariate Cell Cycle Methods
In the simplest method, cellular DNA is detected using a fluorescent dye that binds preferentially to DNA.
Propidium iodide is most commonly used. It undergoes a dramatic increase in fluorescence upon binding DNA. It requires permeabilization of the plasma membrane.
Hoechst 33342 can be used where labeling of unpermeabilized (live) cells is desired.

## Slide 11: Univariate Cell Cycle Methods
When the amount of DNA per cell is measured on a sample from an asynchronously growing cell culture, cells with various amounts of DNA from the 2N (G0/G1) amount to the 4N (G2/M) amount are observed. A histogram reveals the fraction of cells in the various cell cycle phases.

## Slide 12: Normal Cell Cycle
G2
M
G0
G1
s
0
200
400
600
800
1000
G0
G1
s
G2
M
DNA Analysis
DNA content
Count
2N
4N
Purdue University Cytometry Laboratories

## Slide 13: DNA Analysis
0
200
400
600
800
1000
PI Fluorescence
2N
4N
Purdue University Cytometry Laboratories

## Slide 14: Cell cycle progression of synchronized cells
J.W. Gray, F. Dolbeare & M.G. Pallavicini - MLM Chapt. 23

## Slide 15: DNA Analysis
0
200
400
600
800
1000
PI Fluorescence
Aneuploid peak
DNA index 1.21
Purdue University Cytometry Laboratories

## Slide 16: Bivariate Cell Cycle Analysis
To aid in the detection of cells in S-phase, a brief pulse of a marked nucleotide can be used. The most common such nucleotide is bromodeoxyuridine (BrdU) which is incorporated into DNA in place of thymidine. The incorporated BrdU can be detected with an antibody, identifying those cells that synthesized DNA during the pulse.

## Slide 17: Detection of incorporated BrdU
J.W. Gray, F. Dolbeare & M.G. Pallavicini - MLM Chapt. 23

## Slide 18
J.W. Gray, F. Dolbeare & M.G. Pallavicini - MLM Chapt. 23

## Slide 19: Chromosome Analysis and Sorting
Individual chromosomes can be analyzed in flow after appropriate preservation and isolation. The most common method is to use two different DNA dyes, one (Hoechst 33258) that binds preferentially to AT-rich DNA and one (chromomycin A3) that binds preferentially to GC-rich DNA.

## Slide 20: Two-color chromosome analysis
J.W. Gray & L.S. Cram - MLM Chapt. 25

## Slide 21
J.W. Gray & L.S. Cram - MLM Chapt. 25
Normal human
Human X hamster
Normal hamster
Normal mouse

## Slide 22: Immunofluorescence Analysis
A major application of flow cytometry is the analysis (and sorting) of subsets of blood cells using surface markers.
A useful feature is that the major blood cell types show distinct forward and side scatter profiles.

## Slide 23
90 Degree Scatter
0
200
400
600
800
1000
8
15
20
30
40
50
100
200
1000
Lymphocytes
Monocytes
Neutrophils
Side Scatter Projection
Light Scatter Gating
Scale
Purdue University Cytometry Laboratories